Observations for the month of May 2020

(Hourly Week 1: May 1 to May 3, 2020)

- Lowest water level recorded on May 03, 2020 3:00 AM at 1.3444 m

- Highest water level recorded on May 03, 2020 7:00 PM, 8:00 PM, 11:00 PM at 1.58319 m

- Rain gauge difference are mostly 0 except during May 03, 2020 10:00 AM to 12:00 PM where the difference spiked to 11.6 mm at 11:00 PM which is also the highest during the week.

Figure A 1st Week of May 7-Days Daily and 24-Hourly Data (May 1 to May 3, 2020)

(Hourly Week 2: May 4 to May 10, 2020)

- Lowest water level recorded on May 08, 2020 3:00 AM at 1.3444 m

- Highest water level recorded on May 04, 2020 12:00 PM and 2:00 PM at 1.58319 m

- Rain gauge difference are mostly 0 and the highest recorded difference is on May 10, 2020 3:00 PM at 4.4 mm.

Figure B 2nd Week of May 7-Days Daily and 24-Hourly Data (May 4 to May 10, 2020)

(Hourly Week 3: May 11 to May 17, 2020)

- Lowest water level recorded on May 11, 2020 7:00 AM and 9:00 AM at 1.368315 m

- Highest water level recorded on May 12, 2020 5:00 PM at 2.514315 m

- Rain gauge difference are mostly 0 and the highest recorded difference is on May 16, 2020 1:00 PM at 5.4 mm.

Figure C 3rd Week of May 7-Days Daily and 24-Hourly Data (May 11 to May 17, 2020)

(Hourly Week 4: May 18 to May 24, 2020)

- Lowest water level recorded on May 20, 2020 3:00 PM at 1.43994 m

- Highest water level recorded on May 23, 2020 8:00 to 9:00 PM at 2.466565 m

- Rain gauge difference are mostly 0 and the highest recorded difference is on May 22, 2020 3:00 PM at 16.8 mm.

Figure D 4th Week of May 7-Days Daily and 24-Hourly Data (May 18 to May 24, 2020)

(Hourly Week 5: May 25 to May 30, 2020)

- Lowest water level recorded on May 26, 2020 8:00 AM at 1.511565 m

- Highest water level recorded on May 27, 2020 8:00 PM at 2.15619 m

- Rain gauge difference are mostly 0 and the highest recorded difference is on May 30, 2020 3:00 PM at 25.2 mm.

Figure E 5th Week of May 7-Days Daily and 24-Hourly Data (May 25 to May 31, 2020)

(Hourly Data for 30 Days)

- A downpour on May 3 but little changes to the water level however on May 12, little to no rain was observed but a great increase in the water level, which would be the highest level recorded for the month of May at 2.51 m.

- Downpour on May 22 with a slight increase in the water level.

- Less rainfall on May 23 but a higher water level compared from the heavier rainfall on May 22.

- On May 30 at 3pm, the heaviest downpour for a single hour for the month of May recorded at 25.2 mm, did not cause the water level to rise higher than those recorded on May 12 and May 23.

Figure F 24-Hourly Data for 30 Days of May 2020

(Average Daily Data)

- Heavier rainfall occurred in the later half of the month.

- May 22 sustained a heavier downpour for the whole day compared to May 30 which had the heaviest downpour in one hour.

- Water level is gradually increasing for the whole month.

Figure G Average Daily Data for 30 Days of May 2020

(Daily Minimum and Maximum Rain Gauge Data)

- Minimum rain gauge reading is at 0 mm

- Maximum rain gauge reading is at 25.2 mm on May 30, 2020

Figure H Daily Maximum and Minimum Rain Gauge Data for 30 Days of May 2020